## Slide 1: THE WATER SUPPLY SYSYTEM
BASTON CONSTRUCTION
Advısor :

## Slide 2: OUTLINE
INTRODUCTION
POPULATION FORECASTING
GUIDELINES FOR FORECASTING AMOUNT OF DRINKING WATER
DETERMINATION OF WATER TANKS AND WATER RESOURCES
DETERMINATION OF PIPE SIZES
CONCLUSION

## Slide 3: PART I INTRODUCTION

## Slide 4: What is Water Supply System ?

## Slide 5: Why water supply is important ?
Turkey has 112 billion m3 in total and 1500 m3 individual wastable water potential.
Water is a neccessity for life and our mission as an engineer is bringing that water to the people.

## Slide 6: The Water Supply System will be designed in our project for following villages
Eskiköy
Dipsizgöl
İclaliye
İsaören
Karakadı
Kestanealan

## Slide 7: PART II POPULATION FORECASTING
Methods Used:
İller Bankası Method
Arıthmetıc Increase Method

## Slide 8: Table 1: Population Census Results of the Districts from 1985 to 2014

## Slide 9: İller Bankası Method
In this method, increase coefficient (Ç) is calculated firstly by using the following formula:
NS: The last population census value
NE: The firtst population census value
tS: The year at the last population census
tE: The year at the first population census

## Slide 10: Table 2.2: Estimated Populations for Each District

## Slide 11: Arithmetic Increase Method
In Arithmetic Increase Method, arithmetic increase coefficient (ka) is calculated by using the following formula, for each time interval at that population census is taken.
NS: The last population census value
NE: The firtst population census value
tS: The year at the last population census
tE: The year at the first population census

## Slide 12: Table 2.3: Chosen Arithmetic Increase Coefficient and Estimated Populations for İsaören

## Slide 13: Comparison of two methods on same graph for İsaören
Chart: ESTIMATED POPULATION - YEARS
| 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
İLLER BANKASI METHOD | 1195.506 | 1331.6229 | 1483.2377 | 1652.1149 | 1840.2199 | 2049.7421 | 2283.1199 | 2543.0693
ARITHMETIC INCREASE METHOD | 1190.86 | 1295.16 | 1399.46 | 1503.76 | 1608.06 | 1712.36 | 1816.66 | 1920.96

## Slide 14: Table 2.4: Populations for Each District According to Preferred Method

## Slide 15: PART III FORECASTING AMOUNT OF DRINKING WATER
StartIng forecastIng process
ObtaINIng water consumptIon
DSI specIfIcatIons

## Slide 16: Daily Water Consumption for People and Animals
For our districts; each person 150 l/person-day
After 2045  170 l/person-day
For bovine animals; 50 l/head-day
For ovine animals; 15 l/head-day

## Slide 17: Daily Water Consumption for Facilities
In boarding schools for each student 100 l/person/day
In non-boarding schools for each student 50 l/person/day
In military; for each soldier 100 l/person/day
Factories or big companies; customer and/or worker 50 l/person/day
Daily tourism, for each person 75 l/person/day

## Slide 18
Unusual Situations
Peak Coefficient ( 1.5 & 2.0 )
 Qmax,daily = Qmean,daily x Peak coefficient

## Slide 19: Most Crowded District İsaören

## Slide 20: Table 3.7: General Daily Water Consumptions (l/s)

## Slide 21: PART IV DETERMINATION of WATER TANK & WATER RESOURCE

## Slide 22: Determination of Static Pressure for Each District

## Slide 23: Determination Static Pressure After Divided into Two Zones

## Slide 24: Determination of Static Pressure for Districts which have one tank

## Slide 25: WE DECIDE ;
Two new tanks for İSAÖREN, DİPSİZGÖL, KARAKADI, İCLALİYE
One new water tank for KESTANEALANI
Available water tank can be used after fixing for ESKİKÖY

## Slide 26: PART V DETERMINATION of PIPE SIZES AND LENGTHS

## Slide 27
Q= V*A
Q= required discharge (m3/s)
V= calculated velocity (m/s)
A=Area of pipe (m2)

## Slide 28: Pipe Sizes and Lengths for Alternative 1

## Slide 29: Determination of Pipe Sizes and Lengths for Alternative 2

## Slide 30: LAST PART CONCLUSION AND DISCUSSION OF RESULTS

## Slide 31: What was done?
Calculation of population
Calculation of daily drinking water demand

## Slide 32: Table 6.1: Estimations of 2050 for each districts

## Slide 33: What was done?
Determining location and volume of water tanks
Determining sources of the water tanks
Determining pipeline alternatives
Calculating the properties of pipes

## Slide 34: Table 6.2: Number of Pipes for Each Alternatives

## Slide 35: Table 6.3: Advantages and Disadvantages of Alternatives

## Slide 36: Which alternative should be chosen?
Alternative 1
Alternative 2

## Slide 37: REFERENCES
http://www.tuik.gov.tr
İÇMESUYU TESİSLERİ ETÜT, FİZİBİLİTE VE PROJELERİNİN HAZIRLANMASINA AİT TEKNİK ŞARTNAME prepared by İller Bankası in 2013
NÜFUS VE İÇMESUYU TAHMİN ESASLARI prepared by DSI
Inventories prepared by TEMELSU
https://www.google.com.tr/images/constructionofpipe
http://www.kalkinma.gov.tr