## Slide 1: Waste Water Project
CE410-Civil Engineering Design

## Slide 2: OUTLINE
  INTRODUCTION
  POPULATION PLANNING
  DESIGN OF PIPELINES
  PUMP SELECTION
  PUMP STATION

## Slide 3: WASTEWATER / STORMWATER COLLECTİON SYSTEMS
Wastewater collection systems are used to collect and transmit liquid wastes to a central treatment plant.

## Slide 4
sewers

## Slide 5
force mains

## Slide 6
manholes

## Slide 7
 pump stations

## Slide 9
A view of Taşucu

## Slide 11: POPULATION PLANNING
Why is it important?
Demand > Supply
Demand < Supply

## Slide 12: METHODS
Graphical Method
Chart: 
| 1965 | 1970 | 1975 | 1980 | 1985 | 1990 | 1995 | 2000 | 2007 | 2010 | 2012
Population vs Time Graph | 2257 | 2132 | 2983 | 4535 | 4385 | 6743 | 8401 | 10466 | 7820 | 8392 | 8847
y = 163,52 * 2050 - 319308 = 16000

## Slide 13
1) Graphical Method
2) Arithmetic Method
Chart: 
| 1965 | 2012
Population vs Time Graph | 2257 | 8847
Chart: 
| 1965 | 2012
Population vs Time Graph | 2257 | 8847
The Population= 140,21*2050- 273261 = 14200 people

## Slide 14
3. Geometric Method
4. Bank of Provinces Method
In (Ng) = In (Ny) + kg * ( tg - ty ) = In (8847) + 0.0291 * (2050-2012)
Ng = 34000
y2050 = 73000

## Slide 15
Chart: Population Method Comparison
| 1965 | 1970 | 1975 | 1980 | 1985 | 1990 | 1995 | 2000 | 2007 | 2010 | 2012
Available Population Data | 2257 | 2132 | 2983 | 4535 | 4385 | 6743 | 8401 | 10466 | 7820 | 8392 | 8847
Chart: Population Method Comparison
| 1965 | 1970 | 1975 | 1980 | 1985 | 1990 | 1995 | 2000 | 2007 | 2010 | 2012 | 2050
Graphical Method | 2008.8 | 2826.4 | 3644 | 4461.6 | 5279.2 | 6096.8 | 6914.4 | 7732 | 8876.64 | 9367.2 | 9694.24 | 15908
Available Population Data | 2257 | 2132 | 2983 | 4535 | 4385 | 6743 | 8401 | 10466 | 7820 | 8392 | 8847

## Slide 16
Chart: Population Method Comparison
| 1965 | 1970 | 1975 | 1980 | 1985 | 1990 | 1995 | 2000 | 2007 | 2010 | 2012 | 2050
Graphical Method | 2008.8 | 2826.4 | 3644 | 4461.6 | 5279.2 | 6096.8 | 6914.4 | 7732 | 8876.64 | 9367.2 | 9694.24 | 15908
Aritmatic Method | 2251.65 | 2952.7 | 3653.75 | 4354.8 | 5055.85 | 5756.9 | 6457.95 | 7159 | 8140.47 | 8561.1 | 8841.52 | 14169.5
Available Population Data | 2257 | 2132 | 2983 | 4535 | 4385 | 6743 | 8401 | 10466 | 7820 | 8392 | 8847
Chart: Population Method Comparison
| 1965 | 1970 | 1975 | 1980 | 1985 | 1990 | 1995 | 2000 | 2007 | 2010 | 2012 | 2050
Graphical Method | 2008.8 | 2826.4 | 3644 | 4461.6 | 5279.2 | 6096.8 | 6914.4 | 7732 | 8876.64 | 9367.2 | 9694.24 | 15908
Aritmatic Method | 2251.65 | 2952.7 | 3653.75 | 4354.8 | 5055.85 | 5756.9 | 6457.95 | 7159 | 8140.47 | 8561.1 | 8841.52 | 14169.5
Geometric Method | 2389.0304 | 4117.0196 | 6949.5066 | 6272.8316 | 10280.4723 | 12873.7456 | 17630.7162 | 10471.9251 | 10911.3167 | 33560.9866
Available Population Data | 2257 | 2132 | 2983 | 4535 | 4385 | 6743 | 8401 | 10466 | 7820 | 8392 | 8847

## Slide 17
Chart: Population Method Comparison
| 1965 | 1970 | 1975 | 1980 | 1985 | 1990 | 1995 | 2000 | 2007 | 2010 | 2012 | 2050
Graphical Method | 2008.8 | 2826.4 | 3644 | 4461.6 | 5279.2 | 6096.8 | 6914.4 | 7732 | 8876.64 | 9367.2 | 9694.24 | 15908
Aritmatic Method | 2251.65 | 2952.7 | 3653.75 | 4354.8 | 5055.85 | 5756.9 | 6457.95 | 7159 | 8140.47 | 8561.1 | 8841.52 | 14169.5
Geometric Method | 2389.0304 | 4117.0196 | 6949.5066 | 6272.8316 | 10280.4723 | 12873.7456 | 17630.7162 | 10471.9251 | 10911.3167 | 33560.9866
Bank of Provinces Method | 3174.2575 | 9102.0671 | 14793.3414 | 14304.0357 | 21995.9208 | 27404.3795 | 36219.6432 | 24044.8068 | 24706.2422 | 73832.802
Available Population Data | 2257 | 2132 | 2983 | 4535 | 4385 | 6743 | 8401 | 10466 | 7820 | 8392 | 8847

## Slide 18
50 person/ha
430 ha
60 person/ha
340 ha
80 person/ha
210 ha
(Autocad file of Taşucu)
Interpretation of the Map

## Slide 19
The Appropriate Place Selection for Tretmant Plant and Pipes
(https://www.google.com.tr/maps/)
Elevation Center
Pumping station
Tretmant plant
Gravity pipes
Pressurized pipes

## Slide 20
Waste Water Amount Determination & Pipe Diameter Selection

## Slide 21
Table 1: Potable water demand according to population (The Bank of Provincess)
population | Potable water demand (l/p/d)
3000 | 60
3000-5000 | 60-80
5000-10000 | 70-80
10000-30000 | 80-100
30000-50000 | 100-120
50000-100000 | 120-170
Population
60.000

## Slide 22
According to TUIK data the rate of waste water formation from potable water is 84,3%. (TUİK BELEDİYE ATIKSU İSTATİSTİKLERİ, 2010)
The potable water per person = 140 l/d
140*0,843 = 120 l/d/p (for the parts of 1&2)

## Slide 23
parts of the map | sewage(l/s/p) | areas(ha) | p/ha | total sewage(l/s)
1 | 120 | 340 | 50 | 23,61
2 | 120 | 430 | 60 | 35,83
3 | 170 | 210 | 80 | 33,05
Table 2: The calculation of sewage amount

## Slide 24
diameter(mm) | minimum grade | maximum grade | fullness ratio | manhole distance(m)
φ200 | 300 | 7 | 40 | 50
φ300 | 500 | 7 | 50 | 60
φ400 | 600 | 25 | 60 | 70
φ500 | 800 | 25 | 60 | 70
φ600 | 1000 | 25 | 60 | 70
φ800 | 1200 | 50 | 60 | 80
φ1000 | 2000 | 75 | 70 | 100
φ1200 | 2050 | 75 | 70 | 125
φ1400 | 2100 | 75 | 80 | 150
φ1600 | 2150 | 75 | 80 | 150
φ2000 | 2250 | 75 | 80 | 150
φ3000 | 2500 | 75 | 80 | 150
Table 3: Grade standards for sewage works

## Slide 25
Part 1
Part 2
Figure 1 : Calculation of pipe diameter according to discharges(Dizayn grup)

## Slide 26
Part 3
Figure 2: Calculation of pipe diameter according to discharges(Dizayn grup)

## Slide 27
Table 3 : Water demand for Kum neighborhood
facility | Water demand(l) | present unit | predicted unit | unit per facility | Water(l)
pension | 190 | 1 | 5 | 50 | 47500
hotel | 300 | 4 | 12 | 100 | 360000
swimming pool | 500l/m^2 | 3 | 9 | - | 450000*
*the area of the pool is assumed to be 100 m2

## Slide 28
total demand | 2.870.000 liter
demand per person(l/p/d) | 170 l/p/d
Waste water calculation of Kum neighboorhood
170 l/p/d
For pump selection

## Slide 29: 4. DISCHARGES & PUMP SELECTION :

## Slide 30
3 pumps are used in the pumping station.
Plunger pumps are used as a pump type.
Circular caisons are used.
As a material type of the pipeline, polyethylene ( HDPE ) pipes are chosen.

## Slide 31
Motor Power Calculation
Calculations of motor power are done according to the pump discharges for 25 years since economic life of pumps and air chambers is 25 years.
Hg = final elevation of pump line - pump axis elevation
Hg = (2.50) - (-9.10) = 11.60 m
Qp = 55 lt/s

## Slide 33
For polyethylene, f = 0.012
Q = v * A
55*10-3 = v * (π * (0.15)2) where D = 300 mm → v = 0.78 m/s
J = 0.012 * → J = 0.00123 m/m
L = 712 m → JL = 0.00123*712 = 0.88 m
Hm = Hg + JL + minor losses = 11.60 + 0.88 + 2.00 → Hm = 14.5 m
Ne = = → Ne = 15.6 kW
Ne = 15.6 kW → E.K. = 1.25
Nm = Ne * E.K. = 15.6*1.25 → Nm = 19.5 kW
Nm = 19.5 kW → n=8

## Slide 35
Calculation of the Volume of Collecting Chamber :
Tmin = For n=8, Tmin = 450 s
V1 = = → V1 = 7425 lt
V2 = 0.392 * V1 = 0.392*7425 → V2 = 2911 lt
V3 = 0.264 * V1 = 0.264*7425 → V3 = 1960 lt
VR = 1704 lt is taken.
VT = V1 + V2 + V3 + VR = 7425 + 2911 + 1960 + 1704 → VT = 14000 lt = 14 m3

## Slide 36
Base Area of Collecting Chamber :
F = π * r2 = 3.14 * (2.50)2 → F = 19.63 m2 where diameter of caisson is taken as 5.00 m.
When concrete of bottom slope is considered, Fnet = A = 15 m2
h1 = = → h1 = 0.50 m
h2 = = → h1 = 0.19 m
h3 = = → h1 = 0.13 m
hR = = → h1 = 0.11 m
hö is taken as 0.80 m.
HT = h1 + h2 + h3 + hR + hö → HT = 1.73 m

## Slide 37: PUMP STATION
Valve House
Grille
Pump House

## Slide 43: Storm Water
Rational Method
Q = C * I * A
Q = storm water discharge ( lt/s )
C = runoff coefficient depending on drainage area and type of rainfall
I = Rainfall intensity ( lt/s/ha )
A = Area ( ha )

## Slide 44: COEFFICIENT C
COMMERCIAL ZONES ( 0.7- 0.95)
REZIDENTIAL ZONES (0.70- 0.25)
INDUSTRIAL ZONES ( 0.5 - 0.9)
ROADS (0.10-0.95)

## Slide 45: (I) Rainfall Intensity
Collecting time, T = Tg + Ta( minutes )
Tg = Entrance time :
Slope Entrance Time (min.)
J > 1/20 5
1/20 > J > 1/50 10
1/50 > J 15

## Slide 47
References
(n.d.). Retrieved November 25, 2015, from http://www.csb.gov.tr/dosyalar/images/file/MeltemMal atyali.ppt
(n.d.). Retrieved November 25, 2015, from http://cevre.beun.edu.tr/zeydan/kanal/yagmur-kanal- 02.pdf
Mühendislik Hesaplamaları. (n.d.). Retrieved November 25, 2015, from http://www.dizayngrup.com/muhendislik-hesaplamalari.html